## PABX
电话系统工程 （项目A）
序号 | 名称 | 数量 | 产品代码 | 型号 | 品牌 | 设备单价 | 总价
1 | IPO500 V2 控制单元 | 1 | 700476005 | IPO IP500 V2 CNTRL UNIT | AWAYA | 0 | 0
2 | IPO500 V2 系统SD卡 | 1 | 700479702 | IPO IP500 V2 SYS SD CARD AL | AWAYA | 0 | 0
3 | 机架安装配件 | 11 | 700429202 | RACK MNTG KIT | AWAYA | 0 | 0
4 | 电源线 | 11 | 700261977 | POWER LEAD (EARTHED) CHINA | AWAYA | 0 | 0
5 | IPO R9.1升级许可（ADI）大型 | 1 | 339105 | IP OFFICE R9.1 UPGRADE ADI LIC:DS | AWAYA | 0 | 0
6 | IPO 500 MC VCM 32 V2 - 32路语音压缩通道 | 1 | 700504031 | IPO MC VCM 32 V2 | AWAYA | 0 | 0
7 | 提供1个E1接口，每个E1卡，自带8个通道的许可，可通过软件许可扩容至30路。安装在IP500模拟分机卡，IP500数字分机卡和VCM32/64上。 | 2 | 700417439 | IPO IP500 TRNK PRI UNVRSL SNGL | AWAYA | 0 | 0
8 | IPO 500 EXTENSION CARD PHONE 2 - 提供2个模拟分机接口，并支持IP500中继子卡，使另外的4个RL45端口成为中继端口 每个IP500控制单元最大支持4块 | 2 | 700431778 | IPO IP500 EXT CARD PHONE 2 | AWAYA | 0 | 0
9 | IPO 500 EXP MOD PHONE 30 - 增加30个模拟分机端口 不包含：电源线。在R5版本使不需要IPO标准版升专业本软件许可（202959）。但是在R4.0到R4.2时，还是需要此软件许可 | 10 | 700426224 | IPO IP500 EXP MOD PHONE 30 | AWAYA | 0 | 0
10 | IPO IP500 4端口扩展模块卡（含4根连接电缆700472871） | 1 | 700472889 | IPO IP500 EXP CARD 4PT | AWAYA | 0 | 0
11 | IPO R9.1 基本版软件许可（ADI） | 1 | 339096 | IP OFFICE R9.1 ESSENTIAL EDITION ADI LIC:DS | AWAYA | 0 | 0
12 | IPO R9.1 首选版软件许可（ADI） | 1 | 339098 | IP OFFICE R9.1 PREFERRED VOICEMAIL PRO ADI LIC:DS | AWAYA | 0 | 0
13 | IPO R9+ IP500组网许可（ADI） | 4 | 275642 | IPO R9+ IP500 VCE NTWK 4 ADI LIC | AWAYA | 0 | 0
14 | IPO R9+ Avaya IP电话 20用户许可（ADI） | 1 | 275620 | IPO R9+ AV IP ENDPT 20 ADI LIC | AWAYA | 0 | 0
15 | IPO R9+ IP500 增加22个E1中继通道（ADI） | 2 | 275633 | IPO R9+ IP500 E1 ADD 22CH ADI LIC | AWAYA | 0 | 0
16 | IPO TOKEN REM TECH SUPT 24X7 APR NBD-IP500 V2 1YPP | 3 | 271611T | 原厂一年保 | AWAYA | 0 | 0
17 | ZIBO 梓博PRI录音卡 PCI插槽 | 2 |  |  | ZIBO | 0 | 0
18 | ZIBO 梓博计费软件（配合梓博PRI录音卡，可实现查询分机录音） | 1 |  |  | ZIBO | 0 | 0
19 | 工控机 | 1 |  |  |  | 0 | 0
| 电话工程小计 | [5 empty] | 0

## 防火墙
防火墙及行为管理工程（项目A）
序号 | 名称 | 数量 | 单位 | 型号 | 品牌 | 设备单价 | 总价
1 | 防火墙 | 2 | 台 | SG6000-E2300并发连接数 最大：2000000 、网络吞吐量 最大：600Mbps、用户数限制 最大SSL VPN用户数：1000、网络端口 9GE电口、管理 管理接口：1个CON口，1个USB2.0 口 | 山石 | 0 | 0
1.1 | 原厂维保（3年） | 2 |  | 提供山石原厂5*8维保服务 | 山石 | 0 | 0
2 | 上网行为管理网关 | 2 | 台 | AC-1000-D600包含上网加速、带宽管理、上网安全、上网认证、访问控制、审计等功能。支持300Mb带宽，支持用户数3500个，4G内存，1T硬盘，6个千兆电口，3对bypass口，1U标准设备 | 深信服 | 0 | 0
2.1 | SANGFOR URL系统软件(AC-1000-D600) | 2 |  | 应用识别规则库/准入规则库 | 深信服 | 0 | 0
2.2 | 多线路模块 | 2 |  | 每增加一条链路（设备自带一条链路） | 深信服 | 0 | 0
2.3 | 短信猫-GSM | 1 |  | GSM制式短信猫 | 深信服 | 0 | 0
2.4 | 原厂服务(3年) | 2 |  | 400远程技术支持，软件升级、硬件质保，工程师上门安装实施 | 深信服 | 0 | 0
| 防火墙工程小计 | [5 empty] | 0

## Cisco
CISCO网络工程（项目A）
序号 | 名称 | 数量 | 单位 | 型号 | 品牌 | 设备单价 | 总价
1.0 | WS-C3850-48T-S | 4 | 台 | Cisco Catalyst 3850 48 Port Data IP Base | cisco | 0 | 0
1.0.1 | CON-SNT-WSC388TS |  |  | SNTC-8X5XNBD Cisco Catalyst 3850 48 Port Data IP Base | cisco
1.1 | CAB-TA-CN |  |  | China AC Type A Power Cable | cisco
1.2 | C3850-NM-4-1G |  |  | Cisco Catalyst 3850 4 x 1GE Network Module | cisco
1.3 | S3850UK9-37E |  |  | CAT3850 Universal k9 image | cisco
1.4 | STACK-T1-50CM |  |  | 50CM Type 1 Stacking Cable | cisco
1.5 | CAB-SPWR-30CM |  |  | Catalyst 3750X and 3850 Stack Power Cable 30 CM | cisco
1.6 | PWR-C1-350WAC |  |  | 350W AC Config 1 Power Supply | cisco
1.7 | PWR-C1-350WAC/2 |  |  | 350W AC Config 1 SecondaryPower Supply | cisco
2.0 | WS-C2960X-48TS-LL | 13 | 台 | Catalyst 2960-X 48 GigE, 2 x 1G SFP, LAN Lite | cisco | 0 | 0
2.0.1 | CON-SNT-WSC296X4 |  |  | SNTC-8X5XNBD Catalyst 2960-X 48 GigE, 2 x 1G SFP, LAN | cisco
2.1 | CAB-ACC |  |  | Power Cord - China | cisco
3.0 | WS-C2960X-24PS-L | 1 | 台 | Catalyst 2960-X 24 GigE PoE 370W, 4 x 1G SFP, LAN Base | cisco | 0 | 0
3.0.1 | CON-SNT-WSC224SL |  |  | SNTC-8X5XNBD Catalyst 2960-X 24 G | cisco
3.1 | CAB-ACC |  |  | Power Cord - China | cisco
4.0 | GLC-SX-MMD | 24 | 台 | 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | cisco | 0 | 0
5.0 | Panduit Fire Cable LC－LC | 12 | 台 | 多模千兆跳纤 3M | Panduit | 0 | 0
6 | ISR4331/K9 | 2 | 台 | Cisco ISR 4331 (3GE,2NIM,1SM,4G FLASH,4G DRAM,IPB) | cisco | 0 | 0
6.1 | CON-SNT-ISR4331K |  |  | SNTC-8X5XNBD Cisco ISR 4331 (2GE,2NIM,1SM,4G FLASH,4G | cisco
6.2 | SL-4330-IPB-K8 |  |  | IP Base License for Cisco ISR 4330 Series | cisco
6.3 | PWR-4330-AC |  |  | AC Power Supply for Cisco ISR 4330 | cisco
6.4 | CAB-ACC |  |  | Power Cord - China | cisco
6.5 | MEM-FLSH-4G |  |  | 4G Flash Memory for Cisco ISR 4300 (Soldered on motherboard) | cisco
6.6 | MEM-43-4G |  |  | 4G DRAM (1 x 4G) for Cisco ISR 4300 | cisco
6.7 | NIM-BLANK |  |  | Blank faceplate for NIM slot on Cisco ISR 4400 | cisco
6.8 | NAL-FDO-4331 |  |  | NAL Certification labels for ISR4331 | cisco
6.9 | SM-S-BLANK |  |  | Removable faceplate for SM slot on Cisco 2900,3900,4400 ISR | cisco
6.10 | SISR4300UK8-316S |  |  | Cisco ISR 4300 Series IOS XE Universal | cisco
6.11 | SM-X-6X1G |  |  | 6-port Gigabit Ethernet, dual-mode GE/SFP, SM-X Module | cisco
7.0 | AIR-CT3504-K9 | 1 |  | Cisco 3504 Wireless Controller |  | 0 | 0
7.0.1 | CON-SNT-AIRCTRTK | 1 |  | SNTC-8X5XNBD Cisco 3504 Wireless Controller | cisco
7.1 | PWR-115W-AC | 1 |  | Cisco 3504 Wireless Controller Power Supply | cisco
7.2 | AIR-CT3504-SW-8.5 | 1 |  | Cisco 3504 Wireless Controller SW Rel. 8.5 | cisco
7.2.0.1 | CON-SNT-AIRWCT354 | 1 |  | SNTC-8X5XNBD Cisco 3504 Wireless Controller SW Rel. 8 | cisco
7.3 | LIC-CT3504-1A | 20 |  | Cisco 3504 Wireless Controller 1 AP Adder License | cisco
7.3.0.1 | CON-ECMU-LICCTCTA | 20 |  | SWSS UPGRADES Cisco 3504 Wireless Controller 1 AP Adde | cisco
7.4 | CAB-AC-C5-CHI | 1 |  | AC Power Cord, Type C5, China | cisco
7.5 | AIR-CT3504-RMNT | 1 |  | 3504 Wireless Controller Rack Mount Tray | cisco
8.0 | AIR-CT3504-K9 | 1 |  | Cisco 3504 Wireless Controller |  | 0 | 0
8.0.1 | CON-SNT-AIRCTRTK |  |  | SNTC-8X5XNBD Cisco 3504 Wireless Controller | cisco
8.1 | PWR-115W-AC |  |  | Cisco 3504 Wireless Controller Power Supply | cisco
8.2 | AIR-CT3504-SW-8.5 |  |  | Cisco 3504 Wireless Controller SW Rel. 8.5 | cisco
8.2.0.1 | CON-SNT-AIRWCT354 |  |  | SNTC-8X5XNBD Cisco 3504 Wireless Controller SW Rel. 8 | cisco
8.3 | CAB-AC-C5-CHI |  |  | AC Power Cord, Type C5, China | cisco
9.0 | AIR-AP2802I-H-K9 | 5 |  | 802.11ac W2 AP w/CA; 4x4:3; Int Ant; 2xGbE H |  | 0 | 0
9.0.1 | CON-SNT-AI802HK9 |  |  | SNTC-8X5XNBD 802.11ac W2 AP w/CA; | cisco
9.1 | AIR-AP-T-RAIL-R |  |  | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | cisco
9.2 | AIR-AP-BRACKET-1 |  |  | 802.11 AP Low Profile Mounting Bracket (Default) | cisco
9.3 | SW2802-CAPWAP-K9 |  |  | Cisco Aironet 2800 Series CAPWAP Software Image | cisco
10.0 | AIR-AP1832I-H-K9 | 15 |  | 802.11ac Wave 2; 3x3:2SS; Int Ant; H Reg Domain |  | 0 | 0
10.0.1 | CON-SNT-AIAP183H |  |  | SMARTNET 8X5XNBD 802.11ac Wave 2; 3x3:2SS; Int Ant; H Reg | cisco
10.4.1 | AIR-AP-T-RAIL-R |  |  | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | cisco
10.4.2 | AIR-AP-BRACKET-1 |  |  | 802.11 AP Low Profile Mounting Bracket (Default) | cisco
10.4.3 | SW1830-CAPWAP-K9 |  |  | Cisco 1830 Series CAPWAP Software Image | cisco
| cisco网络工程小计 | [5 empty] | 0
注：CISCO设备均为三年维保